## Slide 1: Lecture 29
The Vapor Compression Refrigeration (VCR) Cycle

## Slide 2: VCR used for Cooling
The concept of an efficiency being greater than 100% makes people uneasy. Therefore, the conversion efficiency for a refrigerator is called the Cooling Coefficient of Performance (COPC). A refrigeration system that is used for cooling is called a refrigerator.
Observation:
R

## Slide 3: VCR used for Heating
The concept of an efficiency being greater than 100% makes people uneasy. Therefore, the conversion efficiency for a refrigerator is called the Heating Coefficient of Performance (COPH). A refrigeration system that is used for cooling is called a heat pump.
Observation:
R

## Slide 4: Theoretical Carnot Refrigerator
For the Refrigeration cycle …
For the Heat Pump cycle …
R

## Slide 5: Terminology
Refrigeration cycle
  The cycle is operating in a refrigeration cycle
    The goal is to keep the cold space cold
      Transfer heat from a low-temperature source
Heat pump cycle
  The cycle is operating in a refrigeration cycle
    The goal is to keep the hot space hot
      Transfer heat to a high-temperature sink
The words refrigeration or heat pump define the goal of the cycle.

## Slide 6: What’s Inside?
R

## Slide 7: Refrigerant Properties
Two phase changes
  Boiling (evaporator)
  Condensing (condenser)
Low temperature boiling fluids
Working fluid = Refrigerant

## Slide 8: Refrigerant Naming Convention
Most refrigerants are halogenated hydrocarbons. The naming convention adopted by ASHRAE is,
R(a-1)(b+1)d = CaHbClcFd c = 2(a – 1) – b – d
Example: R22 (R022)
C
H
F
Cl
F
chlorodifluoromethane

## Slide 9: The Pressure-Enthalpy P-h Diagram

## Slide 10: Refrigeration Cycle Analysis
Performance

## Slide 11: The Ideal VCR Cycle on the P-h Diagram
1-2: Isentropic compression
2-3: Isobaric heat rejection
3-4: Isenthalpic expansion
4-1: Isobaric heat addition

## Slide 12: Refrigeration Effect and Capacity
Refrigeration Effect:
Refrigeration Capacity:
Refrigeration capacity is often expressed in tons of refrigeration. Definition …
1 ton of refrigeration is the steady state heat transfer rate required to melt 1 ton of ice at 32°F in 24 hours.
1 ton = 12,000 Btu/hr = 3.516 kW

## Slide 13: VCR Cycle Irreversibilities
Isentropic efficiency of the compressor
Pressure drop through the condenser
Pressure drop through the evaporator

## Slide 14: Practical VCR Cycle
SCT = Saturated Condensing Temperature
DSC = Degrees of Subcooling = SCT – T3
SET = Saturated Evaporating Temperature
DSH = Degrees of Superheat = T1 – SET
Subcooling increases the refrigeration capacity
Superheating provides a dry vapor at the compressor inlet